## Annex E
Annex E
Names of manufacturers and models of ASPPs inverters without geographic location (about 6000 ASPPs)
N | Models of the inverter device of the autonomous solar power plants
1 | Blue-10KT-M1
2 | Blue-12KT-M1
3 | Blue-15KT-M1
4 | Blue-20KT-M1
5 | Blue-25KT-M1
6 | Blue-4KT
7 | Blue-5KT
8 | Blue-6KT
9 | Blue-8KT
10 | Blue-G 2.000S-2K
11 | Blue-G 3.000D-3K
12 | Blue-G 3.000S-3K
13 | Blue-G 4.000D-4K
14 | Blue-G 5.000D-5K
15 | Blue-G 6.000D-6K
16 | Blue-G 8.000D-8K
17 | Blue-Glow 10․000-G10K
18 | Blue-Glow 12․000-G12K
19 | BLUE-S HYBRID 3phs 10kw-10.2kwh ALL IN ONE Solution
20 | BLUE-S HYBRID 5kw-10.2kwh ALL IN ONE Solution
21 | BLUE-S HYBRID 5kw-5.1kwh ALL IN ONE Solution
22 | FOX F5000-G2 Single-Phase F Series (G2) 2MPPT
23 | FOX F6000-G2 Single-Phase F Series (G2) 2MPPT
24 | FOX G10-10.000W Single-Phase G Series 3MPPT
25 | FOX G8-8.000W Single-Phase G Series 3MPPT
26 | FOX T10-10.000W - G3 Three-Phase T Series(G3) 2MPPT
27 | FRONIUS-ECO-27-Light
28 | FRONIUS-ECO-27-WLAN
29 | FRONIUS-PRIMO-4-LIGHT
30 | FRONIUS-PRIMO-4-WLAN
31 | G50KT
32 | G60KT
33 | HUAWEI SUN2000-10KTL-M1
34 | HUAWEI SUN2000-12KTL-M2
35 | HUAWEI SUN2000-15KTL-M2
36 | HUAWEI SUN2000-20KTL-M2
37 | HUAWEI SUN2000-30KTL-M3
38 | HUAWEI SUN2000-3KTL-L1
39 | HUAWEI SUN2000-40KTL-M3
40 | HUAWEI SUN2000-4KTL-L1
41 | HUAWEI SUN2000-50KTL-M0
42 | HUAWEI SUN2000-5KTL-L1
43 | HUAWEI SUN2000-5KTL-L1
44 | HUAWEI SUN2000-5KTL-M1
45 | HUAWEI SUN2000-60KTL-M0
46 | HUAWEI SUN2000-6KTL-L1
47 | HUAWEI SUN2000-8KTL-M1
48 | KSG-10K-TL
49 | KSG-250UH
50 | KSG-120CL-M0
51 | G125KT-7
52 | KSG-12K
53 | KSG-15K
54 | KSG-17K-DM
55 | KSG-20K
56 | KSG-25K
57 | KSG-30K-TL
58 | KSG-30KT-M1
59 | KSG-40KT-M1
60 | KSG-4K-DM
61 | KSG-50K
62 | KSG-60K
63 | KSG-8K-TL
64 | MPP5-HYBRID-V Series
65 | MPP5-HYBRID-V2 series
66 | SOFAR 3KTLMG3-3000W
67 | SOFAR 4KTLMG3-4000W
68 | SOFAR 5KTLMG3-5000W
69 | SOFAR 5KTLMG3-5000W
70 | SOFAR 6KTLMG3-6000W
71 | SOLIS S5-GC40K/400V 3PH-40.000W
72 | SOLIS S5-GR1P10K/220V 1PH-10.000W
73 | SOLIS S5-GR3P10K/400V 3PH-10.000W
74 | SOLIS S5-GR3P20K/400V 3PH-20.000W
75 | SOLIS S5-GR3P5K/400V 3PH-5.000W
76 | SOLIS S6-GR1P3K/220V 1PH-3.000W
77 | SOLIS S6-GR1P4K/220V 1PH-4.000W
78 | SOLIS S6-GR1P5K/220V 1PH-5.000W
79 | SOLIS S6-GR1P6K/220V 1PH-6.000W
80 | SOLIS-110K-5G-PRO/400V 3PH-110.000W