## Annex F
Annex F
ASPPs installed inverters by manufacturers, capacities, phase performance (single phase or three phases) and quantities
N | Models of the inverter device of the ASPP | ASPPs installed capacity, kW | ASPPs performance (single phase or three phases) | Installed quantities
1 | Goodwe120 | 120 | 3 | 12
2 | Goodwe110 | 110 | 3 | 2
3 | Goodwe100 | 100 | 3 | 7
4 | Goodwe80 | 80 | 3 | 16
5 | Goodwe60 | 60 | 3 | 27
6 | Goodwe50 | 50 | 3 | 38
7 | Goodwe36 | 36 | 3 | 9
8 | Goodwe30 | 30 | 3 | 22
9 | Goodwe25 | 25 | 3 | 26
10 | Goodwe20 | 20 | 3 | 33
11 | Goodwe15 | 15 | 3 | 33
12 | Goodwe10 | 10 | 3 | 40
13 | Goodwe8 | 8 | 3 | 40
14 | Goodwe6 | 6 | 3 | 25
15 | Goodwe5 | 5 | 3 | 17
16 | Goodwe3 | 3 | 3 | 3
17 | Goodwe10 | 10 | 1 | 260
18 | Goodwe8.5 | 8.5 | 1 | 15
19 | Goodwe6.5 | 6.5 | 1 | 15
20 | Goodwe6 | 6 | 1 | 15
21 | Goodwe5 | 5 | 1 | 125
22 | Goodwe3 | 3 | 1 | 20
23 | Goodwe2 | 2 | 1 | 10
24 | Goodwe1 | 1 | 1 | 10