## Annex G
Annex G
The name of models and manufacturers of ASPPs inverter's which were collected during data collection
N | Manufacturer | Model name of the ASPPs inverter device
1 | SINENG | Sineng 1P10K
Sineng 3P10K
2 | SUNGROW | SUNGROW SG(40, 50, 125 kW)CX-P2
SUNGROW SG(6, 10, 15, 20, 33 kW)RT
SUNGROW SG(4.0, 5.0, 6.0 kW)RS
Sungrow(10, 15 kW)
SUNGROW SG33CX
3 | SOLAREDGE | SolarEdge SE17K
SolarEdge SE3500H
4 | FOX-ESS | FOX F(5000, 6000 W)-G2 Single-Phase F Series (G2) 2MPPT
FOX G(10-10.000W, 8-8.000W) Single-Phase G Series 3MPPT
FOX T10-10.000W - G3 Three-Phase T Series(G3) 2MPPT
Fox-ESS
Fox-ESS EP11
Fox-ESS F
Fox-ESS G
Fox-ESS H
Fox-ESS H3
Fox-ESS H3-Pro
Fox-ESS H3-Pro-30
Fox-ESS KH
Fox-ESS R
Fox-ESS T
Fox-ESS T20
Fox-ESS V
GFox-ESS F
GFox-ESS T
TFox-ESS R
5 | FRONIUS | Fronius (3.8, 5, 10, 15, 20, 25, 27 kW)
Fronius primo (4, 5 kW)
Fronius symo (7, 10, 15 kW)
Fronius Simo 15.0-3-M
Fronius 10 3P
Fronius 1P4K.
FRONIUS-ECO-27-Light
FRONIUS-ECO-27-WLAN
FRONIUS-PRIMO-4-LIGHT
FRONIUS-PRIMO-4-WLAN
6 | GOODWE | Goodwe (1, 2, 3, 5, 6, 6.5, 8.5, 10 kW) 1f
Goodwe (3, 5, 6, 8, 10, 15, 20, 25, 30, 36, 50, 60, 80, 100, 110, 120 kw) 3f
7 | HUAWEI | Huawei SUN2000-(8, 10 kW)K-LC0
Huawei SUN2000-(3, 3.68, 4, 5, 6 kW) KTL-L1
HUAWEI SUN2000-(50, 60 kW) KTL-M0
Huawei SUN2000-(5, 8, 10, 12, 20, 100 kW) KTL-M1
HUAWEI SUN2000-(12, 15, 20, 30 kW) KTL-M2
Huawei SUN2000-(30, 40, 50 kW) KTL-M3
Huawei SUN2000-10K-LC1
Huawei SUN2000-60KTL-L0
Huawei SUN2000-6KTL-L2
8 | KACO | KACO blueplanet (7.5, 8.6, 9, 10, 20 kW) TL3
KACO Blueplanet 5.0 TL1
Kaco blueplanet 15.0
9 | KSTAR | KSG-(12,15, 20, 25, 50, 60 kW) K
KeysStar (5, 10, 15 kW)
KSG-(8, 10 kW) K-TL
KSG-(10, 12, 15, 20, 25, 40 kW) KT-M1
KSG-(4, 7 kW) K-DM
Blue- (4, 5, 6, 8 kW) KT
G(50, 60 kW) KT
Blue-G (2.000, 3.000 VA) S-(2, 3 kW) K
Blue-G (3.000-8.000 VA) D- (3, 4, 5, 6, 8 kW) -K
Blue-Glow (10․000, 12.000 VA)-G (10, 12 kW) K
BLUE-S HYBRID 3phs 10kw-10.2kwh ALL IN ONE Solution
BLUE-S HYBRID 5kw-10.2kwh ALL IN ONE Solution
BLUE-S HYBRID 5kw-5.1kwh ALL IN ONE Solution
G125KT-7
KSG-120CL-M0
KSG-250UH
KSG-30K-TL - 2 track
KSG-30KT-M1 - 3 track
10 | SAMIL | Samil (2.3, 3, 3.3, 3.6, 4.4, 5, 5.2, 5.3, 6 kW)
11 | SMA | SMA Sunny Boy (1.5, 2.5, 3, 4, 5, 6 kW) 1VL-40
SMA Sunny Tripower (15000, 20000, 25000 W) TL-30
SMA Sunny Boy (4.0, 5.0, 6.0 kW) 1AV-41
SMA Sunny Tripower (5.0, 6.0, 8.0, 10.0 kW)
SMA Sunny boy (2.5, 4 kW)
SMA STP Core2(SMP110-60)
SMA Sunny Boy 3.0 1AV-40
SMA Sunny Boy 6 1VL-41
SMA Sunny Tripower 6.0 - STP6.0-3AV-40
SMA Sunny Tripower CORE
SMA Sunny Tripower CORE1
SMA Sunny Tripower CORE2
SUNNY HIGHPOWER PEAK1
12 | SOFAR | Sofar (11, 12 kW) 3P
Sofar (3, 4, 5, 6, 7.5, 11 kW) K
SOFAR (3, 4, 5, 6 kW) KTLMG3
Sofar-1P (5,6, 7.5 kW) K
13 | SOLAX | Solax 1P (2, 5, 6 kW) K
Solax X3-PRO-(6, 10, 20, 25, 30, 40 kW) K-G2
X3-MEGA G2 (40, 60 kW)
Solax 1X (2, 3.6 kW) K -S -D
Solax X1-(4.2, 5.0, 8.0)-T-D
Solax X1-Boost (5.0, 6.0 kW) T-D
SOLAX X3-(5, 15, 20 kW) K-T
Solax X3-MIC-(8,10,15 kW) K-G2
Solax 1X 8.0
Solax 5.0 T-D
SOLAX HYBRID X1-HYB-6.0-LV
Solax S6-GR1P5K
Solax X1-Smart-8.0-T-D
SOLAX X3-20K-TL
Solax X3-8K-G2
Solax X3-MIC-3K-G5
Solax X3-MIC-40K-G3
Solax X3-MIC-4K-G4
Solax X3-MIC-6K-G7
Solax X3-MIC-8K-G6
14 | SOLIS | Solis GR1P (4, 10 kW)K-4G
Solis GR1P (5, 7, 8, 10, 17 kW)K-5G
Solis 1P (2, 3, 3.6, 4, 5, 6, 7, 8, 9, 10 kW)K
Solis 1P (3, 3.6, 4, 5, 6, 7, 8, 10 kW)K-4G
Solis 1P (5, 6, 7, 8, 10, 18 kW)K-5G
Solis 3P (5, 8, 9, 10, 15, 20 kW)K
Solis 3P (8, 10, 20 kW)K-4G
Solis S5-1P(6, 8, 10 kW) K
Solis S5-3P(8,10, 25 kW)K
Solis S5-GR1P (2, 3, 5, 6, 7, 8, 10 kW)K
Solis S5-GR3P (5, 8, 10, 15, 20 kW)K
Solis S5-GC(25, 40 kW)K
Solis S5-GC3P(25, 30, 40 kW)K
Solis S6 1P (2, 3, 4, 6 kW) K
Solis S6-GR1P(2, 3, 5 kW)K-M
Solis S6-GR1P(2, 3, 4, 5, 6, 7, 8, 10, 13, 15, kW)K
Solis S6-GR3P (5, 8, 10, 15, 20, 25 kW)K
Solis (30, 40, 100 kW) K-5G
Solis (2, 3, 3.6, 4, 5, 6, 7, 8, 9, 10, 15, 20, 30 kW)K
Solis mini (2, 3, 3.6 kW)K
Solis mini (2000, 3000 W)K-4G
Solis 3P20K-5G
Solis GE-1P 3.6K
Solis GR3P8K-5G
Solis GR1P2K-M
Solis GR1P8K
Solis S5-GR1P8K-5G
Solis S5-GR1P5K Hybrid
Solis S6-GC3P30K
Solis S6-3P15K
Solis S6-EH1P5K-L-Pro
Solis S6-EH1P5K-L-PRO Hybrid
Solis S6-EH3P15K03-NV-YD-L Hybrid
Solis S6-GR1P5K Hybrid
SOLIS-110K-5G-PRO/400V 3PH-110.000W
Hybrid Solis S-5-EH1p5k
Solis (Ginlong energy) 1p5K