## AnnexI
Annex I |  | List of Validated and Cross-checked ASPPs inverters with geographic location by cities and villages
հ/հ | Region | City, Village | Date of connection of the ASPPs to the distribution network (day/month/year) | ASPPs installed capacity, kW | ASPPs model and manufacturer of inverter device | Number of invertors | Invertor type is Hybrid (Yes/Yes) | ASPPs performance (single phase or three phase) | ASPPs solar panels model | Validation data compliance, (Yes/ No) | Validation ID
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1 | Yerevan | Shengavit | 2022-08-24 | 178.2 | SMA STP Core2(SMP110-60) SMA Sunny Tripower CORE1 | 2 | No | 3 | AE Solar 550W | Yes | 1
2 | Yerevan | Kanaker-Zeytun | 2023-02-06 | 25.3 | Huawei SUN2000-30KTL-M3 | 1 | No | 3 | AE Solar 550W | Yes | 2
3 | Yerevan | Shengavit | 2023-03-15 | 115.5 | Huawei SUN2000-50KTL-M3 2 counts | 2 | No | 3 | AE Solar 550W | Yes | 3
4 | Yerevan | Erebuni | 2023-04-14 | 176.58 | Huawei SUN2000-50KTL-M3 3 counts | 3 | No | 3 | AE Solar 550W | Yes | 4
5 | Yerevan | Ajapnyak | 2023-06-09 | 14.3 | Huawei SUN2000-6KTL-L1 | 1 | Yes | 1 | AE Solar 550W | Yes | 5
6 | Yerevan | Shengavit | 2023-09-26 | 178.2 | Huawei SUN2000-50KTL-M3 3 counts | 3 | No | 3 | AE Solar 550W | Yes | 6
7 | Yerevan | Erebuni | 2023-11-27 | 11 | Huawei SUN2000-10KTL-M1 | 1 | Yes | 3 | AE Solar 550W | Yes | 7
8 | Yerevan | Ajapnyak | 2023-12-21 | 11.55 | SUNGROW SG5.0RS | 1 | No | 1 | AE Solar 550W | Yes | 8
9 | Yerevan | Ajapnyak | 2023-12-22 | 21.45 | SUNGROW SG20RT | 1 | No | 3 | AE Solar 550W | Yes | 9
10 | Yerevan | Nork-Marash | 2023-12-27 | 7.15 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 10
11 | Yerevan | Ajapnyak | 2023-12-28 | 6.05 | SMA Sunny Tripower 5.0 | 1 | No | 3 | AE Solar 550W | Yes | 11
12 | Yerevan | Kentron | 2023-12-31 | 187.78 | X3-MEGA G2 40kW X3-MEGA G2 60kW 2 counts | 3 | No | 3 | Solet410W | Yes | 12
13 | Yerevan | Malatia-Sebastia | 2023-12-29 | 9.35 | Huawei SUN2000-8K-LC0 | 1 | No | 1 | AE Solar 550W | Yes | 13
14 | Yerevan | Kentron | 2024-03-14 | 175.16 | SUNGROW SG125CX-P2 SUNGROW SG33CX | 2 | No | 3 | AE Solar 580W | Yes | 14
15 | Yerevan | Kanaker-Zeytun | 2025-03-15 | 10.44 | Huawei SUN2000-10K-LC0 | 1 | No | 1 | AE Solar 580W | Yes | 15
16 | Armavir | Ptghunk | 2024-05-21 | 3.3 | Huawei SUN2000-6KTL-L1 | 1 | Yes | 1 | AE Solar 550W | Yes | 16
17 | Armavir | Bambakashat | 2025-01-03 | 72.45 | SUNGROW SG33CX 2 counts | 2 | No | 3 | AE Solar 550W | Yes | 17
18 | Ararat | Getapnya | 2023-03-24 | 17.6 | Huawei SUN2000-15KTL-M2 | 1 | No | 3 | AE Solar 550W | Yes | 18
19 | Ararat | Nor Kharberd | 2023-09-07 | 11 | Huawei SUN2000-10KTL-M1 | 1 | Yes | 3 | AE Solar 550W | Yes | 19
20 | Ararat | Ayntap | 2023-09-29 | 7.15 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 20
21 | Ararat | Masis | 2023-09-30 | 9.9 | SUNGROW SG10RT | 1 | No | 3 | AE Solar 550W | Yes | 21
22 | Ararat | Ghukasavan | 2023-12-29 | 5.5 | SUNGROW SG5.0RS | 1 | No | 1 | AE Solar 550W | Yes | 22
23 | Ararat | Khachpar | 2024-05-17 | 10.35 | Huawei SUN2000-10K-LC1 | 1 | No | 3 | Sunova 575Ո | Yes | 23
24 | Aragatsotn | Ashtarak | 2021-02-01 | 51.7 | SMA Sunny Tripower 25000TL-30 SMA Sunny Tripower 20000TL-30 | 2 | No | 3 | AE Solar Full Black 380W AE Solar double-sided 580W | Yes | 24
25 | Aragatsotn | Aghdzk | 2024-04-26 | 178.2 | Huawei SUN2000-50KTL-M3 3 counts | 3 | No | 3 | AE Solar 550W | Yes | 25
26 | Aragatsotn | Ghazaravan | 2024-08-07 | 26.4 | Huawei SUN2000-50KTL-M3 | 1 | No | 3 | AE Solar 550W | Yes | 26
27 | Aragatsotn | Mughni | 2024-09-25 | 5.5 | SMA Sunny Boy 6.0 1AV-41 | 1 | No | 1 | AE Solar 550W | Yes | 27
28 | Aragatsotn | Parpi | 2024-07-16 | 9.9 | SUNGROW SG10RT | 1 | No | 3 | AE Solar 550W | Yes | 28
29 | Aragatsotn | Aragats | 2024-09-25 | 6.6 | SMA Sunny Boy 6.0 1AV-41 | 1 | No | 1 | AE Solar 550W | Yes | 29
30 | Aragatsotn | Talin | 2024-09-18 | 23.1 | SUNGROW SG20RT | 1 | No | 3 | AE Solar 550W | Yes | 30
31 | Aragatsotn | Oshakan | 2024-10-10 | 56.1 | SMA Sunny Tripower CORE | 1 | No | 3 | AE Solar 550W | Yes | 31
32 | Aragatsotn | Aragats | 2024-09-25 | 5.5 | SMA Sunny Boy 6.0 1AV-41 | 1 | No | 1 | AE Solar 550W | Yes | 32
33 | Aragatsotn | Ashnak | 2025-01-20 | 6.6 | SUNGROW SG6.0RS | 1 | No | 3 | AE Solar 550W | Yes | 33
34 | Kotayk | Arinj | 2018-05-15 | 12.7 | KACO Blueplanet 5.0 TL1 SUNGROW SG5.0RS | 2 | No | 1 | RECOM 345W AE Solar 580W | Yes | 34
35 | Kotayk | Geghashen | 2019-10-25 | 10.68 | KACO Blueplanet 5.0 TL1 SMA Sunny Boy 2.5 1VL-40 SMA Sunny Boy 5 1VL-40 | 3 | Yes | 1 | AE Solar 345W AE Solar 330W AE Solar 330W | Yes | 35
36 | Kotayk | Karashamb | 2023-11-14 | 5.16 | Huawei SUN2000-6KTL-L1 | 1 | Yes | 3 | AE Solar 550W | Yes | 36
37 | Kotayk | Karashamb | 2023-11-14 | 5.16 | Huawei SUN2000-6KTL-L1 | 1 | Yes | 3 | AE Solar 550W | Yes | 37
38 | Kotayk | Hrazdan |  | 36.85 | Huawei SUN2000-30KTL-M3 | 1 | No | 3 | AE Solar 550W | Yes | 38
39 | Kotayk | Kasakh | 2025-02-25 | 16.5 | Huawei SUN2000-15KTL-M2 | 1 | No | 3 | AE Solar 550W | Yes | 39
40 | Kotayk | Arinj | 2025-01-15 | 6.6 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 40
41 | Kotayk | Hrazdan | 2024-06-15 | 6.6 | Huawei SUN2000-6KTL-L1 | 1 | Yes | 1 | AE Solar 550W | Yes | 41
42 | Kotayk | Arinj | 2024-04-25 | 5.5 | SMA Sunny Boy 6 1VL-40 | 1 | No | 1 | AE Solar 550W | Yes | 42
43 | Kotayk | Nor Gyugh | 2024-08-14 | 7.15 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 43
44 | Kotayk | Hrazdan | 2024-08-06 | 6.6 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 44
45 | Kotayk | Zovuni | 2024-07-26 | 7.15 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 45
46 | Kotayk | Dzoraghbyur | 2024-08-31 | 3.3 | SUNGROW SG6.0RT | 1 | No | 3 | AE Solar 550W | Yes | 46
47 | Kotayk | Zovuni | 2024-10-26 | 7.15 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 47
48 | Kotayk | Zovashen | 2024-10-07 | 6.6 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 48
49 | Kotayk | Zovashen | 2024-10-07 | 11 | SUNGROW SG5.0RS 2 counts | 2 | No | 1 | AE Solar 550W | Yes | 49
50 | Kotayk | Zovashen | 2024-10-07 | 7.15 | SUNGROW SG6.0RS | 1 | No | 1 | AE Solar 550W | Yes | 50
51 | Kotayk | Jrvezh | 2025-01-18 | 17.6 | Huawei SUN2000-15KTL-M2 | 1 | No | 3 | AE Solar 550W | Yes | 51
52 | Kotayk | Kasakh | 2025-02-19 | 13.225 | SUNGROW SG10RT | 1 | No | 3 | Sunova երկ. 575W | Yes | 52
53 | Gegharkunik | Karmirgyugh | 2021-06-24 | 3.51 | SMA Sunny Boy 3 1VL-40 | 1 | No | 1 | AE Solar 390W | Yes | 53
54 | Gegharkunik | Dprabak | 2023-05-29 | 7.7 | Huawei SUN2000-10KTL-M1 | 1 | Yes | 3 | AE Solar 550W | Yes | 54
55 | Gegharkunik | Martuni | 2023-11-10 | 40 | X3-PRO-20K-G2 X3-PRO-20K-G2 | 2 | No | 3 | Solet 410W | Yes | 55
56 | Gegharkunik | Tsovagyugh | 2024-11-01 | 25 | X3-PRO-25K-G2 | 1 | No | 3 | Solet 410W | Yes | 56
57 | Gegharkunik | Gavar | 2024-10-29 | 178.64 | SUNGROW SG125CX-P2 SUNGROW SG33CX | 2 | No | 3 | AE Solar 580W | Yes | 57
58 | Gegharkunik | Yeranos | 2025-01-30 | 25 | SUNGROW SG10RT SUNGROW SG15RT | 2 | No | 3 | AE Solar 580W | Yes | 58
59 | Gegharkunik | Varser | 2025-03-13 | 10.03 | Huawei SUN2000-10K-LC0 | 1 | No | 3 | AE Solar 580W | Yes | 59
60 | Gegharkunik | Gavar | 2025-03-13 | 10.44 | SUNGROW SG10RT | 1 | No | 3 | AE Solar 580W | Yes | 60
61 | Gegharkunik | Shoghakat | 2022-05-07 | 20 | SOLAX X3-20K-TL | 1 | No | 3 | Solet 410W | Yes | 61
62 | Gegharkunik | Gavar | 2025-03-13 | 8.7 | Huawei SUN2000-8K-LC0 | 1 | No | 1 | AE Solar 580W | Yes | 62
63 | Tavush | Dilijan | 2024-03-29 | 33.55 | Huawei SUN2000-30KTL-M2 | 1 | No | 3 | AE Solar550W | Yes | 63
64 | Lori | Shahumyan | 10-26-2021 10-03-2024 | 159.75 | SMA Sunny Tripower CORE2 Huawei SUN2000-40KTL-M3 | 2 | No | 3 | AE Solar550W | No | 64
65 | Shirak | Hovit | 2022-05-01 | 5 | SOLAX X3-5.0-T | 1 | No | 3 | Solet410W | Yes | 65
66 | Shirak | Musayelyan | 2022-05-02 | 20 | SOLAX X3-20K-T | 1 | No | 3 | Solet410W | Yes | 66
67 | Shirak | Basen | 2022-06-01 | 20 | SOLAX X3-20K-T | 1 | No | 3 | Solet410W | Yes | 67
68 | Shirak | Getk | 2021-06-01 | 27 | ABB string inverters 27 | 1 | No | 3 | Solet410W | Yes | 68
69 | Shirak | Sarnaghbyur | 2024-06-19 | 5.5 | Huawei SUN2000-5KTL-L1 | 1 | Yes | 1 | AE Solar550W | Yes | 69
70 | Shirak | Azatan |  | 6 | Solax X3-PRO-6K-G2 | 1 | No | 3 | Solet410W | Yes | 70
71 | Shirak | Gharibjanyan | 2025-03-24 | 11 | Huawei SUN2000-10K-LC0 | 1 | No | 1 | AE Solar550W | Yes | 71
72 | Syunik | Sisian | 2024-01-24 | 7.15 | Huawei SUN2000-3KTL-L1 | 1 | Yes | 1 |  | Yes | 72
73 | Syunik | Sisian | 2025-04-04 | 42.48 | SUNGROW SG10RT 2 counts SUNGROW SG15RT | 3 |  | 3 |  | Yes | 73